# APPLICATION FOR PRODUCT APPROVAL

# PRECAST CONCRETE LEACH DRAIN SEGMENTS

Please attach this application form to your submission and post to:

The Manager

Water Unit

Environmental Health Directorate

Department of Health

PO Box 8172

Perth Business Centre WA 6849

APPLICATION DETAILS

NAME OF LEACH DRAIN SYSTEM FOR APPROVAL: 

_______________________________________________________________________________________

NOMINATED BRAND TO BE PLACED ON DRAINS:

_______________________________________________________________________________________

APPLICANT DETAILS

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

_______________________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

MANUFACTURER'S DETAILS

(if different from the applicant)

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

_______________________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

DISTRIBUTOR'S DETAILS

(if different from the applicant and/or manufacturer)

Applicant Name: ___________________________________Contact: _____________________________

Address: _______________________________________________________________________________

_______________________________________________________________________________________

Phone: ___________________________________________ Fax: _________________________________

Email: ___________________________________________ Mob No.: _____________________________

APPLICATION REQUIREMENTS

IMPORTANT: PLEASE ATTACH THE FOLLOWING INFORMATION:

- Your application must demonstrate that your product complies fully with clause 1-13 of the Department of Health (DOH) “Standard for Precast ‘U’ Shape Concrete Leach Drain Segments”.  To assist you, a check list has been attached which must be completed and returned with your application.  Please note that where a product does not comply with a particular requirement of the Standard, the deviation must be acknowledged and addressed.

- Two (2) sets of scaled engineering drawing(s), preferably A3 size (min. A4), to include both plan-views and cross-sectional views of the leach drain as a whole and for each of its components, including end plates.

- The above drawings should include all dimensions and details such as internal width, effective depth, wall thickness, location of reinforcing mesh, entry point of effluent, location of inspection openings, sole plates, end plates etc.

- If a geotextile is to be used with the leach drain, the specifications and a sample of the geotextile material must be provided.

- If a geotextile is to be used with the leach drain, the specifications and a sample of the geotextile material must be provided.

- If ends of segments are not rebated, the method of sealing gaps between segments (such as use of concrete grout, strips of plastic or geotextile) must be nominated.

- Specification of the concrete must be provided.

Please fill in the following declaration after reading the "Application Requirements" section above.

DECLARATION BY APPLICANT / MANUFACTURER

I supply the following details with my application (Tick as included);

- Completed Precast ‘U’ Shape Concrete Leach Drain Segments Check list.

- Two (2) sets of scaled minimum of A4 size engineering drawings of leach drain.

- Specification/sample of Geotextile material used with leach drain segment. (If required)

- Additional Information (where appropriate).

I understand that the DOH may require further details if necessary, and that failure to supply all the details referred to in this application form and any additional information requested by the DOH concerning my application above may result in delays in processing the application.

NAME: _________________________________________________________________________________

COMPANY: _____________________________________________________________________________

ADDRESS: ______________________________________________________________________________

_______________________________________________________________________________________

SIGNATURE: _________________________________________________ DATE: _____________________

## More Information:

Water Unit
Environmental Health Directorate
Department of Health
PO Box 8172
PERTH BUSINESS CENTRE WA 6849

Telephone: 08 9388 4999
Facsimile: 08 9388 4910

Printed on: 18 May 2016

\\Wsep218fs6\hpg_sect$\EHD\Waste\Typing\DOCUM\Guidelines\Product Approval Application Forms\Concrete Leach Drains Applicaiton Package\Application for Product Approval - Precast Concrete Leach Drains.doc

Produced by Environmental Health Directorate
© Department of Health, Western Australia 2016

# STANDARD FOR PRECAST ‘U’ SHAPE

# CONCRETE LEACH DRAIN SEGMENTS

- Open surface area for the efficient disposal of effluent from the leach drain walls shall be a minimum of 10% of the surface area below the invert level of the inlet pipe.

- Segments shall have an effective depth and internal width of a minimum of 400 mm and a maximum of 610 mm.  A standard leach drain as defined by regulation 49(2) of the Health (Treatment of Sewage and Disposal of Effluent and Liquid Waste) Regulations 1974 has an infiltrative area of 1.6m2 per metre of length.  Drains constructed of segments with a smaller infiltrative area shall be required to be of greater length than specified in regulation 49(2).

- Reinforcing to be a minimum of F41 which shall extend from the cover to the bottom of the legs. Additional reinforcing may be required on the wall/cover joint and wall/sole plate joint.

- Angle of seepage holes to be positioned as to effectively exclude entry of backfill around sides of drain segments.  Alternatively, drain segments must be surrounded to a level above the seepage holes by a 300 mm thickness of durable aggregate which meets the grading requirements specified in Australian Standard 2758.1 (Aggregate and Rock for Engineering Purposes) for single size course aggregate for nominal sizes from 20 mm to 40 mm;  or drain segments must be wrapped in a geotextile material which complies with the specifications set out hereunder:

- Have a flow rate of not less than 110 L/m2/sec.

- Have a C.B.R. (California Bearing Ratio) burst strength of not less than 1500 Newtons.

- Have a Wide Width Tensile Strength of not less than 24 kN/m.

- Reinforcing shall have a minimum concrete cover of 20 mm.

- Sole plates (100 mm x 50 mm) to be incorporated to bottom of drains to prevent subsidence.

- Joints between segments should be rebated, or other means used to prevent ingress of backfill.

- Concrete specifications should be as per specifications for precast concrete tanks-Regulation 32 of the Health (Treatment of Sewage and Disposal of Effluent and Liquid Waste) Regulations 1974.

- Thickness of segment walls shall be a minimum of 50 mm.

- Length of components may vary between 0.6 m and 1.8 m.

- Each segment shall be provided with an inspection opening 150 mm in diameter.

- Each segment shall be branded with the manufacturers registered brand name.

- End Covers constructed to the same standard as the segments shall be provided to the end parts of each installation.